## Summary
Schedule No. 5 Grand Summary- Lot 5
Item | Description | Total Price
|  | Foreign | Local
1 | Total Schedule No. 1 Plant and Equipment (including Mandatory Spare parts) from Abroad | 0
2 | Total Schedule No. 2 Plant and Equipment (including Mandatory Spare parts) from within The employer's country | 0
3 | Total Schedule No. 3 - Local Transportation | 0
4 | Total Schedule No. 4 - Instalation Service (including materials for civil works) | 0
| Total Networks | 0 | 0
Note
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD

## MV Concrete
SCHEDULE 1, 2 and 3 - PROCUREMENT AND LOCAL TRANSPORTATION
MV Concrete Overhead Line |  |  |  | Schedule 1. Goods supplied from abroad |  |  |  | Schedule 2. Goods supplied from Employer's country |  | Schedule 3. Local Transportation |  | Schedule 4. Installation services
Item | Description | Unit | Qty | Unit Price |  | Total Price |  | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FOB | CIF | FOB | CIF | LC | LC | LC | LC | FC | FC | Birr | Birr
1 | PRELIMINARY WORKS |  | 0
1.1 | Line survey | km | 6.93 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
1.2 | Profile drawings and pole spotting | km | 6.93 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
1.3 | Stacking-out of pole structure positions | poles | 63 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
1.4 | Soil investigations (concrete pole locations) | lump sum | 1 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
1.5 | Access roads | km | 6.93 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
1.6 | Bush Clearing (concrete pole locations) | lump sum | 1 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
[6 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | CONCRETE POLE FOUNDATIONS 11 kV |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
2.1 | Concrete foundations, soil c1 |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.1.1 | Type A11-300, suspension | foundation | 5 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.1.2 | Type B11-800, Heavy angle 30° - 60° | foundation | 2 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
[6 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2.2 | Concrete foundations, soil c2 |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
2.2.1 | Type A11-300, suspension | foundation | 15 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.2.2 | Type B11-800, Heavy angle 30° - 60° | foundation | 20 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.2.3 | Type B11-800, dead end | foundation | 6 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.2.4 | Type B10-500, Section Switch | foundation | 5 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
[6 empty] | 0 | 0 |  | 0 |  | 0 |  | #REF! |  | #REF!
2.3 | Concrete foundations, soil c3 |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
2.3.1 | Type A11-300, suspension | foundation | 3 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.3.2 | Type B11-800, Heavy angle 30° - 60° | foundation | 3 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
2.3.3 | Type B11-800, T-off, angle 60° - 90° | foundation | 4 | FOB: 0; CIF: 0; LC: 0; LC: 0; FC: 0; Birr: 0
[6 empty] | 0 | 0 |  | 0 |  | 0
3 | CONCRETE POLES |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
3.1 | 11A-300 | poles | 23 | FOB: 0; CIF: 0; LC: 0; LC: 0
3.2 | 10B-500 | poles | 5 | FOB: 0; CIF: 0; LC: 0; LC: 0
3.3 | 11B-800 | poles | 35 | FOB: 0; CIF: 0; LC: 0; LC: 0
[6 empty] | 0 | 0 |  | 0 |  | 0
4 | EARTHING |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
4.1 | Earthing of concrete pole structure | poles | 8 | FOB: 0; CIF: 0; LC: 0; LC: 0
[6 empty] | 0 | 0 |  | 0 |  | 0
5 | VARIOUS |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
5.1 | Commissioning and testing (lines + respective pole-mounted MV/LV stations) | line | 1 | FOB: 0; CIF: 0; LC: 0; LC: 0
|  |  | 0 | FOB: 0; CIF: 0; LC: 0; LC: 0
6 | CONDUCTOR (COMPLETE WITH JUMPERS, JOINTS, ETC.) |  | 0 | FOB: 0; CIF: 0; LC: 0; LC: 0
6.1 | AAAC xx | km | 20.79 | FOB: 0; CIF: 0; LC: 0; LC: 0
|  |  | 0 | FOB: 0; CIF: 0; LC: 0; LC: 0
7 | INSULATOR 11kV COMPLETE WITH CLAMP/TIE |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
7.1 | Suspension post type insulator with wrap-lock tie | u | 23 | FOB: 0; CIF: 0; LC: 0; LC: 0
7.2 | Tension string insulator | u | 40 | FOB: 0; CIF: 0; LC: 0; LC: 0
|  |  | 0 | FOB: 0; CIF: 0; LC: 0; LC: 0
8 | CROSS ARMS 11kV |  |  | FOB: 0; CIF: 0; LC: 0; LC: 0
8.1 | Horizontal cross arm, suspension, I-Frame | u | 23 | FOB: 0; CIF: 0; LC: 0; LC: 0
8.2 | Horizontal cross arm, H-frame, pole 500 | u | 5 | FOB: 0; CIF: 0; LC: 0; LC: 0
8.3 | Horizontal cross arm, H-frame, pole 800 | u | 25 | FOB: 0; CIF: 0; LC: 0; LC: 0
8.5 | Horizontal cross arm, for T-Off | u | 4 | FOB: 0; CIF: 0; LC: 0; LC: 0
|  |  | 0 | FOB: 0; CIF: 0; LC: 0; LC: 0
| TOTAL FROM 1 TO 8 |  |  | CIF: 0; LC: 0; LC: 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## MV Concrete (Instal)
SCHEDULE 4 INSTALLATION SERVICES
MV Concrete Overhead Line
Item | Description | Unit | Qty | Unit Price | Total Price
|  |  |  | FOB | CIF
1 | PRELIMINARY WORKS |  | 0
1.1 | Line survey | km | 6.93 |  | 0
1.2 | Profile drawings and pole spotting | km | 6.93 |  | 0
1.3 | Stacking-out of pole structure positions | poles | 63 |  | 0
1.4 | Soil investigations (concrete pole locations) | lump sum | 1 |  | 0
1.5 | Access roads | km | 6.93 |  | 0
1.6 | Bush Clearing (concrete pole locations) | lump sum | 1 |  | 0
0
2 | CONCRETE POLE FOUNDATIONS 11 kV |  |  |  | 0
2.1 | Concrete foundations, soil c1 |  |  |  | 0
2.1.1 | Type A11-300, suspension | foundation | 5 |  | 0
2.1.2 | Type B11-800, Heavy angle 30° - 60° | foundation | 5 |  | 0
0
2.2 | Concrete foundations, soil c2 |  |  |  | 0
2.2.1 | Type A11-300, suspension | foundation | 15 |  | 0
2.2.2 | Type B11-800, Heavy angle 30° - 60° | foundation | 20 |  | 0
2.2.3 | Type B11-800, dead end | foundation | 3 |  | 0
2.2.4 | Type B10-500, Section Switch | foundation | 5 |  | 0
0
2.3 | Concrete foundations, soil c3 |  |  |  | 0
2.3.1 | Type A11-300, suspension | foundation | 3 |  | 0
2.3.2 | Type B11-800, Heavy angle 30° - 60° | foundation | 3 |  | 0
2.3.3 | Type B11-800, T-off, angle 60° - 90° | foundation | 4 |  | 0
0
3 | CONCRETE POLES |  |  |  | 0
3.1 | 11A-300 | poles | 23 |  | 0
3.2 | 10B-500 | poles | 5 |  | 0
3.3 | 11B-800 | poles | 35 |  | 0
0
4 | EARTHING |  |  |  | 0
4.1 | Earthing of concrete pole structure | poles | 8 |  | 0
0
5 | VARIOUS |  |  |  | 0
5.1 | Commissioning and testing (lines + respective pole-mounted MV/LV stations) | line | 1 |  | 0
|  |  | 0 |  | 0
6 | CONDUCTOR (COMPLETE WITH JUMPERS, JOINTS, ETC.) |  | 0 |  | 0
6.1 | AAAC 95 | km | 20.79 |  | 0
|  |  | 0 |  | 0
7 | Insulator 33kV complete with clamp/tie |  |  |  | 0
7.1 | Suspension post type insulator with wrap-lock tie | u | 23 |  | 0
7.2 | Tension string insulator | u | 40 |  | 0
|  |  | 0 |  | 0
8 | CROSS ARMS 11kV |  |  |  | 0
8.1 | Horizontal cross arm, suspension, I-Frame | u | 23 |  | 0
8.2 | Horizontal cross arm, H-frame, pole 500 | u | 5 |  | 0
8.3 | Horizontal cross arm, H-frame, pole 800 | u | 25 |  | 0
8.4 | Horizontal cross arm, for T-Off | u | 4 |  | 0
0
| TOTAL FROM 1 TO 8 |  |  |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## MV-LV Sub_11kV
SCHEDULE 1, 2 and 3 - PROCUREMENT AND LOCAL TRANSPORTATION
33kV MV-LV |  |  |  | Schedule 1. Goods supplied from abroad |  |  |  | Schedule 2. Goods supplied from Employer's country |  | Schedule 3. Local Transportation
Item | Description | Unit | Qty | Unit Price |  | Total Price |  | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FOB | CIF | FOB | CIF | LC | LC | LC | LC
1 | Pole Mounted Transformer Station Single User Type A1 (without transformer) |  |  |  |  | 0 | 0 |  | 0 |  | 0
1.1 | Complete for 50 kVA transformer 11/0.4kV | station | 3 |  |  |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0
2 | Pole Mounted Transformer Station Type A2 (without transformer) | [5 empty] | 0 |  | 0 |  | 0
2.1 | Complete for 100 kVA transformer 11/0.4kV | station | 2 |  |  |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0
3 | Transformers MV/LV | [5 empty] | 0 |  | 0 |  | 0
3.1 | 50 kVA transformer 11/0.4kV | trafo | 3 |  |  |  | 0 |  | 0 |  | 0
3.2 | 100 kVA transformer 11/0.4kV | trafo | 2 |  |  |  | 0 |  | 0 |  | 0
| TOTAL FROM 1 TO 3 | [5 empty] | 0 |  | 0 |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## MV-LV Sub_11kV (Instal)
SCHEDULE 4 INSTALLATION SERVICES
33kV MV-LV |  |  |  | Schedule 4. Installation services
Item | Description | Unit | Qty | Unit Price | Total Price
|  |  |  | FOB | CIF
|  |  |  | USD | USD
1 | Pole Mounted Transformer Station Single User Type A1 (without transformer) |  |  |  | 0
1.1 | Complete for 50 kVA transformer 11/0.4kV | station | 3 |  | 0
0
2 | Pole Mounted Transformer Station Type A2 (without transformer) |  |  |  | 0
2.1 | Complete for 100 kVA transformer 11/0.4kV | station | 2 |  | 0
0
3 | Transformers MV/LV |  |  |  | 0
3.1 | 50 kVA transformer 11/0.4kV | trafo | 3 |  | 0
3.2 | 100 kVA transformer 11/0.4kV | trafo | 2 |  | 0
| TOTAL FROM 1 TO 3 |  |  |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## LV Networks
SCHEDULE 4 INSTALLATION SERVICES
LV NETWORKS |  |  |  | Schedule 1. Goods supplied from abroad |  |  |  | Schedule 2. Goods supplied from Employer's country (EXW) |  | Schedule 3. Local Transportation
Item | Description | Unit | Qty | Foregin Currency |  |  |  | Loacl Currency |  | Loacl Currency
|  |  |  | Unit Price |  | Total Price |  | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FOB | CIP | FOB | CIP
1 | Poles |  |  |  |  | 0 | 0 |  | 0 |  | 0
1.1 | Concrete pole type 300 daN, 8m, Cl. C | pole | 33 |  |  | 0 | 0 |  | 0 |  | 0
1.2 | Concrete pole type 500 daN, 8m, Cl. C | pole | 17 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
2 | Foundations |  |  |  |  | 0 | 0 |  | 0 |  | 0
2.1 | Concrete pole in good soil | foundation | 33 |  |  | 0 | 0 |  | 0 |  | 0
2.2 | Concrete pole in poor soil | foundation | 17 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
3 | Fittings |  |  |  |  | 0 | 0 |  | 0 |  | 0
3.1 | Suspension clamp 4x16 to 4x50B2.2) | set | 50 |  |  | 0 | 0 |  | 0 |  | 0
3.2 | Universal suspension hook (B1.2) | u | 25 |  |  | 0 | 0 |  | 0 |  | 0
3.3 | Dead end hook (B1.3) | u | 50 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
4 | LV ABC |  |  |  |  | 0 | 0 |  | 0 |  | 0
4.1 | 3 x 50 mm² + 1 X 25mm²+ 1 X 16mm² | km | 4 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
5 | Line accessories |  |  |  |  | 0 | 0 |  | 0 |  | 0
5.1 | Painting number | pole | 50 |  |  | 0 | 0 |  | 0 |  | 0
5.2 | Stay wires complete with accessories | u | 28 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
6 | Earthing |  |  |  |  | 0 | 0 |  | 0 |  | 0
6.1 | Earthing of LV network | u | 6 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
7 | Preliminary Works |  |  |  |  | 0 | 0 |  | 0 |  | 0
7.1 | Survey of the low voltage networks | km | 4 |  |  | 0 | 0 |  | 0 |  | 0
7.2 | Detailed desing of the low voltage networks | km | 4 |  |  | 0 | 0 |  | 0 |  | 0
7.3 | Stacking-out of pole positions | pole | 50 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
8 | Commissioning and Testing |  |  |  |  | 0 | 0 |  | 0 |  | 0
8.1 | Commissioning and Testing of the LV networks | village | 1 |  |  | 0 | 0 |  | 0 |  | 0
| TOTAL FROM 1 TO 8 |  |  |  |  | 0 | 0 |  | 0 |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## LV Networks (Instal)
SCHEDULE 4 INSTALLATION SERVICES
LV NETWORKS |  |  |  | Schedule 4. Installation services
Item | Description | Unit | Qty | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FC | FC | LC | LC
1 | Poles |  |  |  | 0 |  | 0
1.1 | Concrete pole type 300 daN, 8m, Cl. C | pole | 33 |  | 0 |  | 0
1.2 | Concrete pole type 500 daN, 8m, Cl. C | pole | 17 |  | 0 |  | 0
[5 empty] | 0 |  | 0
2 | Foundations |  |  |  | 0 |  | 0
2.1 | Concrete pole in good soil | foundation | 33 |  | 0 |  | 0
2.2 | Concrete pole in poor soil | foundation | 17 |  | 0 |  | 0
[5 empty] | 0 |  | 0
3 | Fittings |  |  |  | 0 |  | 0
3.1 | Suspension clamp 4x16 to 4x50B2.2) | set | 50 |  | 0 |  | 0
3.2 | Universal suspension hook (B1.2) | u | 25 |  | 0 |  | 0
3.3 | Dead end hook (B1.3) | u | 50 |  | 0 |  | 0
[5 empty] | 0 |  | 0
4 | LV ABC |  |  |  | 0 |  | 0
4.1 | 3 x 50 mm² + 1 X 25mm²+ 1 X 16mm² | km | 4 |  | 0 |  | 0
[5 empty] | 0 |  | 0
5 | Line accessories |  |  |  | 0 |  | 0
5.1 | Painting number | pole | 50 |  | 0 |  | 0
5.2 | Stay wires complete with accessories | u | 28 |  | 0 |  | 0
[5 empty] | 0 |  | 0
6 | Earthing |  |  |  | 0 |  | 0
6.1 | Earthing of LV network | u | 12 |  | 0 |  | 0
[5 empty] | 0 |  | 0
7 | Commissioning and Testing |  |  |  | 0 |  | 0
7.1 | Commissioning and Testing of the LV networks | village | 1 |  | 0 |  | 0
| TOTAL FROM 1 TO 8 |  |  |  | 0 |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## Service Conn.
SCHEDULE 1, 2 and 3 - PROCUREMENT AND LOCAL TRANSPORTATION
SERVICE CONNECTION |  |  |  | Schedule 1. Goods supplied from abroad |  |  |  | Schedule 2. Goods supplied from Employer's country |  | Schedule 3. Local Transportation
Item | Description | Unit | Qty | Unit Price |  | Total Price |  | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FOB | CIF | FOB | CIF | LC | LC | LC | LC
1 | Supply of LV Twisted Cables |  | 0 |  |  | 0 | 0 |  | 0 |  | 0
1.1 | 2 x 16 mm² | km | 8 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
2 | Supply of Sets of fixing material (Hooks, clamps, piercing connectors, etc. as per table in spec.) |  |  |  |  | 0 | 0 |  | 0 |  | 0
2.1 | Single phase service connection | set | 800 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
3. | Supply of Electronic Meters |  |  |  |  | 0 | 0 |  | 0 |  | 0
3.1 | Single phase energy meter | meter | 800 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
4. | Supply of Service Connection Board (without meter) |  |  |  |  | 0 | 0 |  | 0 |  | 0
4.1 | For single phase energy meter | sc board | 800 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
5 | Supply of Pole Mounted LV Distribution Box |  |  |  |  | 0 | 0 |  | 0 |  | 0
5.1 | max. 6 single phase or 2 three phase feeders | lv box | 134 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
6 | Supply of Various |  |  |  |  | 0 | 0 |  | 0 |  | 0
6.1 | Seals for meter boxes | set | 800 |  |  | 0 | 0 |  | 0 |  | 0
6.2 | Sealing tool | set | 2 |  |  | 0 | 0 |  | 0 |  | 0
[6 empty] | 0 | 0 |  | 0 |  | 0
7 | Supply of Fittings (Hook, suspension clamp or anchor clamp, insulation piercing connector, joints, etc.) |  |  |  |  | 0 | 0 |  | 0 |  | 0
7.1 | Set for suspension on concrete pole | set | 400 |  |  | 0 | 0 |  | 0 |  | 0
7.2 | Insulation piercing connectors, size 1 | u | 400 |  |  | 0 | 0 |  | 0 |  | 0
| TOTAL FROM 1 TO 7 | [5 empty] | 0 |  | 0 |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## Solar Minigrid
SCHEDULE 1, 2 and 3 - PROCUREMENT AND LOCAL TRANSPORTATION
Solar Minigrid |  |  |  | Schedule 1. Goods supplied from abroad |  |  |  | Schedule 2. Goods supplied from Employer's country |  | Schedule 3. Local Transportation |  | Schedule 4. Installation services
Item | Description | Unit | Qty | Unit Price |  |  | Total Price | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FOB | CIF | FOB | CIF | LC | LC | LC | LC | LC
1 | 500KWac PV modules | USD/KWp | 500 KWac |  |  | 0 | 0 |  | 0 |  | 0
2 | Anodized Aluminum PV modules/Array mounting frames/structures | USD/KWp | 500 KWac |  |  | 0 | 0 |  | 0 |  | 0
3 | Lithium-Ion Batteries for Battery energy storage system (with PCS/BMS) | USD/KWH | 1000 KWH |  |  | 0 | 0 |  | 0 |  | 0
4 | Inverters | USD/KWp | 500 KWac |  |  | 0 | 0 |  | 0 |  | 0
5 | LV Panel switchgear complete with all necessary protections for combining incoming cables from the respective inverter outputs before joining inverter Transformers. | USD/KWp | 1 pc/site of 500KWpKwac |  |  | 0 | 0 |  | 0 |  | 0
6 | Panel switchgears complete with all necessary protections for combining incoming and outgoing cables from the respective inputs and outputs for distribution purposes. | USD/KWp | 500 KWp |  |  | 0 | 0 |  | 0 |  | 0
7 | Inverter step up Transformer 0.4kV/11kV, substation accessories | No | 1 |  |  | 0 | 0 |  | 0 |  | 0
8 | Balance of the System including all Equipment's, Materials, Spares, Accessories, Safety & Fire Fighting Systems etc and any other Supplies necessary for proper functioning of the system | USD/KWp | 500 KWp |  |  | 0 | 0 |  | 0 |  | 0
9 | SCADA & and Remote Monitoring and Controlling System, Connecting Cables (if any), and Associated Other Accessories | No | 1 |  |  | 0 | 0 |  | 0 |  | 0
10 | Grounding and Lightning Protection System | No | 1 |  |  | 0 | 0 |  | 0 |  | 0
| TOTAL FROM 1 TO 10 | [5 empty] | 0 |  | 0 |  | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency

## Solar Minigrid (Instal)
SCHEDULE 4 - INSTALLATION SERVICES
Solar Minigrid |  |  |  | Schedule 4. Installation services |  |  |  | Schedule 4. Installation services
Item | Description | Unit | Qty | Unit Price |  | Total Price |  | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | FOB | CIF | FOB | CIF
|  |  |  | USD | USD | USD | USD | LC
1 | 500KWac PV modules | USD/KWp | 500 KWac |  |  | 0 | 0
2 | Anodized Aluminum PV modules/Array mounting frames/structures | USD/KWp | 500 KWac |  |  | 0 | 0
3 | Lithium-Ion Batteries for Battery energy storage system (with PCS/BMS) | USD/KWH | 1000 KWH |  |  | 0 | 0
4 | Inverters | USD/KWp | 500 KWac |  |  | 0 | 0
5 | LV Panel switchgear complete with all necessary protections for combining incoming cables from the respective inverter outputs before joining inverter Transformers. | USD/KWp | 1 pc/site of 500KWpKwac |  |  | 0 | 0
6 | Panel switchgears complete with all necessary protections for combining incoming and outgoing cables from the respective inputs and outputs for distribution purposes. | USD/KWp | 500 KWp |  |  | 0 | 0
7 | Inverter step up Transformer 0.4kV/11kV, substation accessories | No | 1 |  |  | 0 | 0
8 | Balance of the System including all Equipment's, Materials, Spares, Accessories, Safety & Fire Fighting Systems etc and any other Supplies necessary for proper functioning of the system | USD/KWp | 500 KWp |  |  | 0 | 0
9 | SCADA & and Remote Monitoring and Controlling System, Connecting Cables (if any), and Associated Other Accessories | No | 1 |  |  | 0 | 0
10 | Grounding and Lightning Protection System | No | 1 |  |  | 0 | 0
| TOTAL FROM 1 TO 10 |  |  |  |  | 0 | 0
1. All foreign Currency Price are quoted in USD
2. All Local Currency Price are quoted in USD
3. FC-Foreign Currency
3. LC-Local Currency